Conclusions COPENHAGEN
## 1. Seasonal impact (summer vs winter)
PV generation
- In summer, PV generation is moderate in Denmark, due to longer daylight hours but weaker sun intensity.
- In winter, PV output is very low, often close to negligible — even lower than in Paris or Ljubljana.
PV support to the house
- During summer weekends, PV can help support the household, especially when the vehicle is home.
- In winter, the PV contribution is minimal, barely impacting overall energy flows.
Savings
- Summer savings remain modest but relatively stable.
- In winter, savings are very limited, with little variation across scenarios.

## 🔹 2. Battery size impact (small vs large)
Energy charged
- Larger batteries can store more energy, especially in summer.
- However, the limited PV production and low household demand mean that the extra capacity is rarely used effectively.
Flexibility delivered
The delivered flexibility is similar across battery sizes — especially in winter, where opportunities are scarce.
Self-sufficiency & savings
- Self-sufficiency does not increase significantly with larger batteries.
- In some cases, smaller batteries perform more efficiently, avoiding unnecessary overcharging and loss.

## 🔹 3. Parking location (home vs workplace)
At home
- Enables better synchronisation with both PV and household demand.
- Results in clearly better savings and autonomy, particularly during weekends.
At work
- Disconnecting the vehicle during key household consumption periods (morning and evening)
- Leads to consistently lower results, regardless of season or battery size.

## 🔹 4. Dynamic pricing structure
Impact on charge/discharge strategy
- Denmark’s dynamic tariff blocks offer clear incentives to charge during off-peak hours and discharge during peaks.
- The effectiveness depends heavily on whether the vehicle is at home during peak pricing.

## 🔹 General conclusions for Denmark
- PV availability is a limiting factor, especially in winter.
- Battery size alone does not guarantee better results — it must align with usage and production windows.
- The best outcomes come from:
  - Smart home-parking schedules,
  - Prioritising off-peak charging and PV use,
  - Using the battery intelligently for peak shaving.