Conclusions
## 🔹 1. Seasonal impact (summer vs winter)
- PV generation:
  - In summer, up to 5× more PV is available than in winter.
  - Winter PV is often negligible, except during a few central hours of the day.
- PV support to the house:
  - In summer, PV can provide some consistent support, especially during weekends.
  - In winter, almost no PV support is possible, except in rare cases.
- Savings:
  - Summer savings are stable but moderate across scenarios.
  - Winter savings vary more, and can be up to 3× higher in optimal weekday cases.

## 🔹 2. Battery size impact (small vs large)
- Energy charged:
  - Large batteries can absorb up to 2× more energy than small ones.
  - However, actual usage to support the house remains similar, because it is limited by low household demand.
- Flexibility delivered:
  - Despite higher storage, the flexibility stays nearly identical for both battery sizes.
- Self-sufficiency & savings:
  - Self-sufficiency and savings are almost unchanged when switching from a small to a large EV.
  - In some cases, large batteries achieve slightly lower savings, due to less efficient energy use.

## 🔹 3. Parking location (home vs workplace)
- At home:
  - Vehicles can align better with household needs and PV availability.
  - This leads to 2× to 3× better performance in flexibility, self-sufficiency, and savings.
- At work:
  - Vehicles are disconnected during peak demand at home.
  - Results are consistently lower, regardless of battery size or season.
## 🔹 General conclusions
- Household demand is the main limiting factor — even the best battery can't help if there's no demand.
- Larger batteries ≠ better results, unless the house needs more energy.
- Savings depend more on when and where the vehicle is connected than on how much energy it stores.
- The most promising gains come from smart scheduling, not just battery size or PV availability.