## Feuil1
Scenario | Country | Season | Connection time | Number of vehicle | Energy Charged (kWh) | Energy Discharged (kWh) | Available Flexibility (kWh) | Pv(kWh) | Peak Shaving(kWh) | Local Energy Autonomy (%) | Savings (€) | Comments / Specific Assumptions
V2H_summer_weekday | France | Summer | 18:00–08:00 | 1 | 7 | 4 | 4 | 6 | 4 | 35 | 0.5 | Night charging, slight discharge during peak
V2H_summer_weekend | France | Summer | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 6 | 6 | 6 | 6 | 55 | 0.9 | Charging morning + afternoon, good PV support
V2H_winter_weekday | France | Winter | 18:00–08:00 | 1 | 7 | 3 | 3 | 1.5 | 3 | 20 | 0.4 | Low PV, off-peak charging mostly
V2H_winter_weekend | France | Winter | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 5 | 5 | 1.5 | 5 | 40 | 0.75 | Limited PV, useful peak support
V2B_summer | France | Summer | 08:00–17:00 | 1 | 21 | 10 | 10 | 6 | 8 | 35 | 1.1 | Bidirectional exchange; charging + support to building; PV used partially
V2B_winter | France | Winter | 08:00–17:00 | 1 | 21 | 8 | 8 | 1.5 | 6 | 25 | 1 | Low PV, partial recharge + grid discharge during peak hours
PT_summer_weekday | France | Summer | 23:00–06:00 | 10 | 1800 | 660 | 660 | 400 | 400 | 20 | 72 | Night charging + daytime discharge at depot
PT_summer_weekend | France | Summer | 01:00–06:00 | 10 | 1500 | 440 | 440 | 300 | 300 | 18 | 57 | Shorter connection; off-peak charging + mid-day injection
PT_winter_weekday | France | Winter | 23:00–06:00 | 10 | 1800 | 660 | 660 | 100 | 400 | 15 | 72 | Winter load shaving with scheduled daytime flexibility
PT_winter_weekend | France | Winter | 01:00–06:00 | 10 | 1500 | 440 | 440 | 80 | 300 | 12 | 57 | Weekend flexibility with limited midday discharging
V2G_summer_weekday | France | Summer | 18:00–08:00 | 1 | 7 | 6 | 7 | 6 | 6 | 45 | 1 | Discharge to grid during peak; recharge with PV or off-peak
V2G_summer_weekend | France | Summer | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 7 | 9 | 6 | 7 | 50 | 1.2 | Optimized injection during evening peaks
V2G_winter_weekday | France | Winter | 18:00–08:00 | 1 | 7 | 5 | 6 | 1.5 | 5 | 30 | 0.9 | Low PV, injection focused on peak shaving
V2G_winter_weekend | France | Winter | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 6 | 7 | 1.5 | 6 | 35 | 1 | Recharge partially from PV and discharge at peak
Taxi_summer_weekday | France | Summer | 01:00–05:00 | 10 | 350 | 110 | 110 | 80 | 80 | 0 | 13.8 | Night charging only, no injection
Taxi_summer_weekend | France | Summer | 03:00–07:00 | 10 | 350 | 90 | 90 | 70 | 70 | 0 | 11.4 | Shorter night shift charging, no flexibility
Taxi_winter_weekday | France | Winter | 01:00–05:00 | 10 | 350 | 100 | 100 | 60 | 75 | 0 | 12 | Winter night charging, no injection
Taxi_winter_weekend | France | Winter | 03:00–07:00 | 10 | 350 | 80 | 80 | 50 | 60 | 0 | 10.2 | Early morning recharge, no grid support
SharedCar_summer_weekday | France | Summer | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 30 | 32 | 50 | 25 | 20 | 6 | Low injection due to limited availability
SharedCar_summer_weekend | France | Summer | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 45 | 48 | 60 | 35 | 30 | 8.4 | More availability, some PV-based discharge
SharedCar_winter_weekday | France | Winter | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 25 | 28 | 35 | 20 | 25 | 5.2 | Low PV, limited grid contribution
SharedCar_winter_weekend | France | Winter | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 35 | 38 | 40 | 28 | 18 | 6.8 | Night + evening connection, low winter PV
V2H_summer_weekday | Slovenija | Summer | 18:00–08:00 | 1 | 7 | 4 | 4 | 4.9 | 4 | 63.6 | 0.48 | Night charging, slight discharge during peak
V2H_summer_weekend | Slovenija | Summer | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 6 | 6 | 4.9 | 6 | 77.9 | 0.72 | Charging morning + afternoon, good PV support
V2H_winter_weekday | Slovenija | Winter | 18:00–08:00 | 1 | 7 | 3 | 3 | 1.1 | 3 | 20.5 | 0.36 | Low PV, off-peak charging mostly
V2H_winter_weekend | Slovenija | Winter | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 5 | 5 | 1.1 | 5 | 30.5 | 0.6 | Limited PV, useful peak support
V2B_summer | Slovenija | Summer | 08:00–17:00 | 1 | 21 | 10 | 10 | 6.2 | 8 | 10.8 | 1.2 | Bidirectional exchange; charging + support to building; PV used partially
V2B_winter | Slovenija | Winter | 08:00–17:00 | 1 | 21 | 8 | 8 | 1.6 | 6 | 3.8 | 0.96 | Low PV, partial recharge + grid discharge during peak hours
PT_summer_weekday | Slovenija | Summer | 23:00–06:00 | 10 | 1800 | 660 | 660 | 4.2 | 400 | 66.4 | 79.2 | Night charging + daytime discharge at depot
PT_summer_weekend | Slovenija | Summer | 01:00–06:00 | 10 | 1500 | 440 | 440 | 4.2 | 300 | 44.4 | 52.8 | Shorter connection; off-peak charging + mid-day injection
PT_winter_weekday | Slovenija | Winter | 23:00–06:00 | 10 | 1800 | 660 | 660 | 1 | 400 | 66.1 | 79.2 | Winter load shaving with scheduled daytime flexibility
PT_winter_weekend | Slovenija | Winter | 01:00–06:00 | 10 | 1500 | 440 | 440 | 1 | 300 | 44.1 | 52.8 | Weekend flexibility with limited midday discharging
V2G_summer_weekday | Slovenija | Summer | 18:00–08:00 | 1 | 7 | 7 | 7 | 4.9 | 6 | 77.9 | 0.72 | Discharge to grid during peak; recharge with PV or off-peak
V2G_summer_weekend | Slovenija | Summer | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 9 | 9 | 4.9 | 7 | 85 | 0.84 | Optimized injection during evening peaks
V2G_winter_weekday | Slovenija | Winter | 18:00–08:00 | 1 | 7 | 6 | 6 | 1.1 | 5 | 30.5 | 0.6 | Low PV, injection focused on peak shaving
V2G_winter_weekend | Slovenija | Winter | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 7 | 7 | 1.1 | 6 | 35.5 | 0.72 | Recharge partially from PV and discharge at peak
Taxi_summer_weekday | Slovenija | Summer | 01:00–05:00 | 10 | 350 | 110 | 110 | 2.3 | 80 | 0 | 13.2 | Night charging + partial daytime discharge with limited PV
Taxi_summer_weekend | Slovenija | Summer | 03:00–07:00 | 10 | 350 | 90 | 90 | 2.3 | 70 | 0 | 10.8 | Shorter night shift charging, partial day injection
Taxi_winter_weekday | Slovenija | Winter | 01:00–05:00 | 10 | 350 | 100 | 100 | 0.5 | 75 | 0 | 12 | Winter night charging, modest peak support
Taxi_winter_weekend | Slovenija | Winter | 03:00–07:00 | 10 | 350 | 80 | 80 | 0.5 | 60 | 0 | 9.6 | Early morning recharge, limited flexibility
SharedCar_summer_weekday | Slovenija | Summer | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 32 | 32 | 3.9 | 25 | 48.4 | 3.6 | Low injection due to limited availability
SharedCar_summer_weekend | Slovenija | Summer | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 48 | 48 | 3.9 | 35 | 69.9 | 5.4 | More availability, some PV-based discharge
SharedCar_winter_weekday | Slovenija | Winter | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 28 | 28 | 0.9 | 20 | 37 | 3 | Low PV, limited grid contribution
SharedCar_winter_weekend | Slovenija | Winter | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 38 | 38 | 0.9 | 28 | 51.3 | 4.2 | Night + evening connection, low winter PV
V2H_summer_weekday | Denmark | Summer | 18:00–08:00 | 1 | 7 | 4 | 4 | 4.7 | 4 | 58.2 | 0.68 | Night charging, slight discharge during peak
V2H_summer_weekend | Denmark | Summer | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 6 | 6 | 4.7 | 6 | 71.5 | 1.02 | Charging morning + afternoon, good PV support
V2H_winter_weekday | Denmark | Winter | 18:00–08:00 | 1 | 7 | 3 | 3 | 0.7 | 3 | 16.9 | 0.51 | Low PV, off-peak charging mostly
V2H_winter_weekend | Denmark | Winter | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 5 | 5 | 0.7 | 5 | 26 | 0.85 | Limited PV, useful peak support
V2B_summer | Denmark | Summer | 08:00–17:00 | 1 | 21 | 10 | 10 | 6 | 8 | 10.7 | 1.7 | Bidirectional exchange; charging + support to building; PV used partially
V2B_winter | Denmark | Winter | 08:00–17:00 | 1 | 21 | 8 | 8 | 1.1 | 6 | 3.6 | 1.36 | Low PV, partial recharge + grid discharge during peak hours
PT_summer_weekday | Denmark | Summer | 23:00–06:00 | 10 | 1800 | 660 | 660 | 4.1 | 400 | 66.4 | 112.2 | Night charging + daytime discharge at depot
PT_summer_weekend | Denmark | Summer | 01:00–06:00 | 10 | 1500 | 440 | 440 | 4.1 | 300 | 44.4 | 74.8 | Shorter connection; off-peak charging + mid-day injection
PT_winter_weekday | Denmark | Winter | 23:00–06:00 | 10 | 1800 | 660 | 660 | 0.7 | 400 | 66.1 | 112.2 | Winter load shaving with scheduled daytime flexibility
PT_winter_weekend | Denmark | Winter | 01:00–06:00 | 10 | 1500 | 440 | 440 | 0.7 | 300 | 44.1 | 74.8 | Weekend flexibility with limited midday discharging
V2G_summer_weekday | Denmark | Summer | 18:00–08:00 | 1 | 7 | 7 | 7 | 4.7 | 6 | 71.5 | 1.02 | Discharge to grid during peak; recharge with PV or off-peak
V2G_summer_weekend | Denmark | Summer | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 9 | 9 | 4.7 | 7 | 78.2 | 1.19 | Optimized injection during evening peaks
V2G_winter_weekday | Denmark | Winter | 18:00–08:00 | 1 | 7 | 6 | 6 | 0.7 | 5 | 26 | 0.85 | Low PV, injection focused on peak shaving
V2G_winter_weekend | Denmark | Winter | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 7 | 7 | 0.7 | 6 | 30.5 | 1.02 | Recharge partially from PV and discharge at peak
Taxi_summer_weekday | Denmark | Summer | 01:00–05:00 | 10 | 350 | 110 | 110 | 2.2 | 80 | 0 | 18.7 | Night charging + partial daytime discharge with limited PV
Taxi_summer_weekend | Denmark | Summer | 03:00–07:00 | 10 | 350 | 90 | 90 | 2.2 | 70 | 0 | 15.3 | Shorter night shift charging, partial day injection
Taxi_winter_weekday | Denmark | Winter | 01:00–05:00 | 10 | 350 | 100 | 100 | 0.4 | 75 | 0 | 17 | Winter night charging, modest peak support
Taxi_winter_weekend | Denmark | Winter | 03:00–07:00 | 10 | 350 | 80 | 80 | 0.4 | 60 | 0 | 13.6 | Early morning recharge, limited flexibility
SharedCar_summer_weekday | Denmark | Summer | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 32 | 32 | 3.8 | 25 | 48.3 | 5.1 | Low injection due to limited availability
SharedCar_summer_weekend | Denmark | Summer | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 48 | 48 | 3.8 | 35 | 69.7 | 7.65 | More availability, some PV-based discharge
SharedCar_winter_weekday | Denmark | Winter | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 28 | 28 | 0.6 | 20 | 36.6 | 4.25 | Low PV, limited grid contribution
SharedCar_winter_weekend | Denmark | Winter | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 38 | 38 | 0.6 | 28 | 50.9 | 5.95 | Night + evening connection, low winter PV
V2H_summer_weekday | Greece | Summer | 18:00–08:00 | 1 | 21 | 6 | 4 | 6 | 5.8 | 6 | 3.95 | Night charging + slight discharge during evening peaks, good PV coverage in early evening
V2H_summer_weekend | Greece | Summer | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 5 | 3 | 6.5 | 3.9 | 5 | 2.98 | Charging mostly in early afternoon, modest discharge at night
V2H_winter_weekday | Greece | Winter | 18:00–08:00 | 1 | 21 | 4 | 2.5 | 2.5 | 2.6 | 3 | 1.65 | Low PV input, charging mainly from grid, slight discharge at peak
V2H_winter_weekend | Greece | Winter | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 3 | 2 | 2 | 2 | 3 | 1.25 | Winter low sun, low PV injection, minimal discharge support
V2B_summer | Greece | Summer | 08:00–17:00 | 1 | 1800 | 620 | 620 | 7.2 | 5.9 | 95 | 104.8 | Standard daytime V2B operation with high PV coverage
V2B_winter | Greece | Winter | 08:00–17:00 | 1 | 1800 | 610 | 610 | 3.1 | 2.9 | 92 | 91.1 | Limited PV in winter, but good coverage from stored energy
PT_summer_weekday | Greece | Summer | 23:00–06:00 | 10 | 1500 | 440 | 440 | 8 | 6.9 | 100 | 88.7 | Night load shifting with moderate PV contribution
PT_summer_weekend | Greece | Summer | 01:00–06:00 | 10 | 1500 | 400 | 400 | 7.8 | 6.5 | 85 | 83.4 | Weekend lower demand, still overnight load shifting from PV
PT_winter_weekday | Greece | Winter | 23:00–06:00 | 10 | 1500 | 440 | 440 | 2.5 | 2.8 | 100 | 72 | Winter charging from grid only, no PV
PT_winter_weekend | Greece | Winter | 01:00–06:00 | 10 | 1500 | 380 | 380 | 2.2 | 2.3 | 70 | 65.7 | Winter grid-based charging, minimal PV
V2G_summer_weekday | Greece | Summer | 18:00–08:00 | 1 | 9 | 7 | 7 | 9 | 6.2 | 8 | 4.84 | Optimized injection during peaks, with support from PV
V2G_summer_weekend | Greece | Summer | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 6 | 6 | 9.5 | 6 | 7 | 4.1 | PV injection + partial off-peak discharge
V2G_winter_weekday | Greece | Winter | 18:00–08:00 | 1 | 9 | 5 | 5 | 2.5 | 2.5 | 4 | 2.65 | Low PV, moderate discharge, grid support at peak
V2G_winter_weekend | Greece | Winter | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 5 | 5 | 5 | 2 | 3 | 2.15 | Winter PV limited, night charging and grid discharge
Taxi_summer_weekday | Greece | Summer | 01:00–05:00 | 10 | 350 | 110 | 110 | 5 | 2.5 | 75 | 13.75 | Night charging + partial daytime discharge at station
Taxi_summer_weekend | Greece | Summer | 03:00–07:00 | 10 | 350 | 100 | 100 | 4.8 | 2.3 | 70 | 11.6 | Reduced operation, some nighttime discharge possible
Taxi_winter_weekday | Greece | Winter | 01:00–05:00 | 10 | 350 | 100 | 100 | 1.5 | 1.8 | 60 | 10.32 | Winter night charging only, no injection
Taxi_winter_weekend | Greece | Winter | 03:00–07:00 | 10 | 350 | 90 | 90 | 1 | 1.2 | 55 | 9.1 | Low winter usage, minimal flexibility provided
SharedCar_summer_weekday | Greece | Summer | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 48 | 48 | 5 | 4.2 | 30 | 5.62 | More available connection, PV-based injection
SharedCar_summer_weekend | Greece | Summer | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 38 | 38 | 5.5 | 3.8 | 25 | 4.55 | Weekend pattern, limited injection from PV
SharedCar_winter_weekday | Greece | Winter | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 28 | 28 | 1.5 | 2 | 20 | 2.65 | Winter schedule, no solar support, grid discharge
SharedCar_winter_weekend | Greece | Winter | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 28 | 28 | 1.2 | 1.8 | 20 | 2.25 | Night charging, limited availability for injection
V2H_summer_weekday | Portugal | Summer | 18:00–08:00 | 1 | 21 | 6 | 4 | 6.2 | 5.9 | 7 | 3.85 | Evening support + good PV from late afternoon
V2H_summer_weekend | Portugal | Summer | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 5 | 3 | 6.4 | 3.8 | 6 | 2.95 | Afternoon charge + modest discharge at night
V2H_winter_weekday | Portugal | Winter | 18:00–08:00 | 1 | 21 | 4 | 2.5 | 3.2 | 2.4 | 3 | 1.58 | Lower solar gain, limited evening support
V2H_winter_weekend | Portugal | Winter | 00:00–08:00 & 14:00–23:00 | 1 | 21 | 3 | 2 | 2.8 | 1.9 | 2 | 1.18 | Minimal PV, low discharge capacity
V2B_summer | Portugal | Summer | 08:00–17:00 | 1 | 1800 | 620 | 620 | 7.8 | 6.3 | 100 | 107.4 | High solar input to support daytime injection
V2B_winter | Portugal | Winter | 08:00–17:00 | 1 | 1800 | 610 | 610 | 3.4 | 5 | 92 | 88.7 | Grid + partial winter solar backup
PT_summer_weekday | Portugal | Summer | 23:00–06:00 | 10 | 1500 | 440 | 440 | 8.2 | 6.5 | 90 | 89.1 | Night load shifting, with PV from previous day
PT_summer_weekend | Portugal | Summer | 01:00–06:00 | 10 | 1500 | 400 | 400 | 8 | 6.1 | 85 | 82.4 | Lower weekend use, reduced peak discharge
PT_winter_weekday | Portugal | Winter | 23:00–06:00 | 10 | 1500 | 440 | 440 | 2.5 | 2.4 | 70 | 71 | Limited PV, grid charging mainly
PT_winter_weekend | Portugal | Winter | 01:00–06:00 | 10 | 1500 | 380 | 380 | 2.3 | 2.2 | 65 | 63.5 | Low weekend activity, minimum injection
V2G_summer_weekday | Portugal | Summer | 18:00–08:00 | 1 | 9 | 7 | 7 | 8.7 | 6.3 | 9 | 4.95 | Peak injection in late day, backed by solar
V2G_summer_weekend | Portugal | Summer | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 6 | 6 | 9.1 | 6.1 | 8 | 4.23 | Weekend full PV injection possible
V2G_winter_weekday | Portugal | Winter | 18:00–08:00 | 1 | 9 | 5 | 5 | 3 | 2.4 | 5 | 2.56 | Moderate grid support, low PV
V2G_winter_weekend | Portugal | Winter | 00:00–09:00 & 17:00–23:00 | 1 | 9 | 5 | 5 | 2.7 | 2.2 | 4 | 2.1 | Minimal solar supply, mostly grid discharge
Taxi_summer_weekday | Portugal | Summer | 01:00–05:00 | 10 | 350 | 110 | 110 | 5.1 | 2.4 | 72 | 13.9 | Night charge, limited daytime injection
Taxi_summer_weekend | Portugal | Summer | 03:00–07:00 | 10 | 350 | 100 | 100 | 5.3 | 2.3 | 70 | 12.1 | Weekend shift reduced load
Taxi_winter_weekday | Portugal | Winter | 01:00–05:00 | 10 | 350 | 100 | 100 | 1.6 | 1.5 | 60 | 9.6 | Night-only charging, no solar
Taxi_winter_weekend | Portugal | Winter | 03:00–07:00 | 10 | 350 | 90 | 90 | 1.2 | 1.3 | 55 | 8.8 | Low demand weekend operation
SharedCar_summer_weekday | Portugal | Summer | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 48 | 48 | 5.6 | 4.3 | 32 | 5.8 | Evening PV-based support
SharedCar_summer_weekend | Portugal | Summer | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 38 | 38 | 5.9 | 4 | 28 | 4.9 | Weekend longer stay allows PV boost
SharedCar_winter_weekday | Portugal | Winter | 00:00–07:00 & 19:00–23:00 | 10 | 280 | 28 | 28 | 1.6 | 2.1 | 21 | 2.7 | Grid-only injection during peaks
SharedCar_winter_weekend | Portugal | Winter | 02:00–09:00 & 17:00–23:00 | 10 | 280 | 28 | 28 | 1.3 | 2 | 20 | 2.2 | Low weekend usage, modest peak injection